Insert Your Company Name and/or Logo Here

REGULATORY REFORM (FIRE SAFETY) ORDER 2005

FIRE RISK ASSESSMENT

(Version 4.0)

The Dorset & Wiltshire Fire and Rescue Service has provided this template free of charge to assist the Responsible Person with the preparation of a Fire Risk Assessment as required by the Regulatory Reform (Fire Safety) Order 2005. It is not provided for use by professional service providers for financial profit or gain.

This template may not be suitable for use in some larger, high risk or complex premises. Dorset & Wiltshire Fire and Rescue Service accept no responsibility for any modifications or amendments made to the template structure or any user content added. Use of this template will not automatically guarantee the completed risk assessment will be regarded as “suitable and sufficient” therefore it should only be completed by persons with the necessary training, skills or ability to do so.

For further assistance on how to complete this document can be found in the Fire Risk Assessment Template Guidance document available from the Dorset & Wiltshire Fire and Rescue Service website. www.dwfire.org.uk

| Responsible Person (Employer or other person having control of the relevant premises) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Address of Premises |  |  |  |  |
| Postcode |  |  |  |  |
| Assessment Completed By: |  |  |  |  |
| Date of Assessment |  |  |  |  |
| (This risk assessment should be reviewed annually or at such earlier time as there is reason to suspect that it is no longer valid or there has been a significant change in the matters to which it relates.) |  |  |  |  |
| Subsequent Review Dates |  |  |  |  |
| Review Completed By |  |  | Date |  |
| Review Completed By |  |  | Date |  |
| Review Completed By |  |  | Date |  |

GENERAL INFORMATION

| THE PREMISES |  |
| --- | --- |
| Number of floors in building: (To include basements) |  |
| Approximate floor area: (m²) (To include all floors of responsibility) |  |
| Brief details of construction: (Date of construction, brick, timber, purpose built or converted) |  |
| Primary usage: (eg Hotel, Shop) |  |
| Secondary usage: (eg Kitchen, Bar, Function Room, Offices) |  |

| OCCUPANCY PROFILE |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Maximum number of persons in the most highly occupied compartment to be affected by an uncontrolled fire within 30 minutes, assuming no evacuation. | WEEKDAYS |  |  | WEEKENDS |  |  |  |  |
|  | 0000 to 0400 |  |  | 0000 to 0400 |  |  |  |  |
|  | 0400 to 0800 |  |  | 0400 to 0800 |  |  |  |  |
|  | 0800 to 1200 |  |  | 0800 to 1200 |  |  |  |  |
|  | 1200 to 1600 |  |  | 1200 to 1600 |  |  |  |  |
|  | 1600 to 2000 |  |  | 1600 to 2000 |  |  |  |  |
|  | 2000 to 2400 |  |  | 2000 to 2400 |  |  |  |  |
|  | Enter range – A= <20, B=20-49, C=50-99, D=100-1000, E=>1000, 0= None |  |  |  |  |  |  |  |
| Description of Occupants | Mobility Issues |  | Average Mobility |  |  | Vulnerability Issues |  |  |

| OCCUPANTS ESPECIALLY AT RISK FROM FIRE |  |
| --- | --- |
| Sleeping occupants (Details of numbers - public/staff) |  |
| Disabled occupants (Personal Emergency Evacuation Plans in use when necessary) |  |
| Occupants in remote areas (Lone working/isolated areas) |  |
| Young person’s (Individual Risk Assessment provided for those persons under 16 yrs) |  |
| Others (Details of Elderly/Infirm/Mental Ability) |  |

IDENTIFIED FIRE HAZARDS

AND PRIMARY CONTROL MEASURES

| ELECTRICAL SOURCES OF IGNITION |  |  |  |
| --- | --- | --- | --- |
| Measures taken to prevent fires of electrical origin. |  |  |  |
| Fixed installation periodically inspected and tested? (Every 5 years) |  |  | YES / NO |
| Portable appliance testing carried out on a risk assessed basis? |  |  | YES / NO |
| Suitable policy in place regarding the use of personal electrical appliances? |  |  | YES / NO |
| Suitable limitation and management of trailing leads and adaptors? |  |  | YES / NO |
| Identified Hazards | Existing Control Measures | Additional Control Measures Required |  |
| Deficiencies and Comments: |  |  |  |

| SMOKING |  |  |  |
| --- | --- | --- | --- |
| Measures taken to prevent fires as a result of smoking. |  |  |  |
| Smoking prohibited in the building? |  |  | YES / NO |
| Smoking permitted in appropriate areas? |  |  | YES / NO |
| Suitable arrangements for those who wish to smoke? |  |  | YES / NO |
| Identified Hazards | Existing Control Measures | Additional Control Measures Required |  |
| Deficiencies and Comments: |  |  |  |

| ARSON/DELIBERATE IGNITION |  |  |  |
| --- | --- | --- | --- |
| Basic security against arson by outsiders or other persons appears reasonable. If specific advice on security (including security against arson) is required, the advice of a security specialist should be obtained. |  |  | YES / NO |
| Is there the potential for fire load/combustibles in close proximity to the premises available for ignition by outsiders? |  |  | YES / NO |
| Identified Hazards | Existing Control Measures | Additional Control Measures Required |  |
| Deficiencies and Comments: |  |  |  |

| PORTABLE HEATERS |  |  |  |
| --- | --- | --- | --- |
| Portable heaters are used within the premises. |  |  | YES / NO |
| Is the use of the more hazardous type (ie radiant bar fires or LPG appliances) avoided? |  |  | YES / NO |
| Are suitable measures taken to minimise the hazard of ignition of combustible materials due to these heaters? |  |  | N/A / YES / NO |
| Identified Hazards | Existing Control Measures | Additional Control Measures Required |  |
| Deficiencies and Comments: |  |  |  |

| FIXED HEATING INSTALLATIONS |  |  |  |
| --- | --- | --- | --- |
| Fixed heating installations such as boilers are used within the premises. |  |  | YES / NO |
| Are fixed heating installations subject to regular maintenance? |  |  | N/A / YES / NO |
| Are suitable measures taken to minimise the hazard of ignition of combustible materials due to these heaters? |  |  | N/A / YES / NO |
| Identified Hazards | Existing Control Measures | Additional Control Measures Required |  |
| Deficiencies and Comments: |  |  |  |

| COOKING |  |  |  |
| --- | --- | --- | --- |
| Measures taken to prevent fires as a result of cooking. |  |  |  |
| Filters cleaned or changed and ductwork cleaned regularly? |  |  | N/A / YES / NO |
| Suitable extinguishing appliances available? (e.g. Fire blanket, Wet Chemical etc) |  |  | N/A / YES / NO |
| Suitable Shut Down Procedures in place? |  |  | N/A / YES / NO |
| Identified Hazards | Existing Control Measures | Additional Control Measures Required |  |
| Deficiencies and Comments: |  |  |  |

| LIGHTNING |  |  |  |
| --- | --- | --- | --- |
| The building has a lightning protection system. |  |  | YES / NO |
| Is the lightning protection system subject to a suitable maintenance regime? |  |  | N/A / YES / NO |
| Identified Hazards | Existing Control Measures | Additional Control Measures Required |  |
| Deficiencies and Comments: |  |  |  |

| DANGEROUS SUBSTANCES |  |  |  |
| --- | --- | --- | --- |
| Dangerous substances are, or could be used or stored, within the premises? (i.e. Substantial quantities of alcohol, white spirits, other flammable liquids or materials) |  |  | N/A / YES / NO |
| A risk assessment has been carried out as required by the Dangerous Substances and Explosive Atmospheres Regulations 2002? |  |  | N/A / YES / NO |
| Stored in suitable areas and containers away from potential sources of ignition, to include issues of chemical reactivity and compatibility. |  |  | N/A / YES / NO |
| Identified Hazards | Existing Control Measures | Additional Control Measures Required |  |
| Deficiencies and Comments: |  |  |  |

| HOUSEKEEPING |  |  |  |
| --- | --- | --- | --- |
| Standards of housekeeping. |  |  |  |
| Combustible materials appear to be separated from ignition sources? |  |  | YES / NO |
| Appropriate storage of hazardous materials? |  |  | N/A / YES / NO |
| Escape routes kept clear of any combustibles? (Storage /furniture) |  |  | YES / NO |
| Appropriate measures for the safe storage and disposal of waste? |  |  | YES / NO |
| Identified Hazards | Existing Control Measures | Additional Control Measures Required |  |
| Deficiencies and Comments: |  |  |  |

| HAZARDS INTRODUCED BY CONTRACTORS AND BUILDING WORKS |  |  |  |
| --- | --- | --- | --- |
| Fire safety conditions have been imposed on both external contractors and in-house maintenance staff? |  |  | YES / NO |
| Is there satisfactory control over works including use of hot work permits, where appropriate, carried out in the building by external contractors? Give details: |  |  | YES / NO |
| If there are in-house maintenance personnel, are suitable precautions taken during works carried out by them, including use of hot work permits, where appropriate? Give details: |  |  | N/A / YES / NO |
| Identified Hazards | Existing Control Measures | Additional Control Measures Required |  |
| Deficiencies and Comments: |  |  |  |

| OTHER SIGNIFICANT FIRE HAZARDS THAT WARRANT CONSIDERATION |  |  |  |
| --- | --- | --- | --- |
| Are there any other fire hazards that warrant consideration within the premises? (This to include any fire hazards from any process; heat producing, spark or friction generating, chemical or other process which has the capacity to ignite, create excessive or rapid heat or generate oxidising or flammable gas) |  |  | YES / NO |
| Identified Hazards | Existing Control Measures | Additional Control Measures Required |  |
| Deficiencies and Comments: |  |  |  |

ARRANGEMENTS FOR EVACUATION

| EVACUATION STRATEGY |  |
| --- | --- |
| Typical evacuation strategies within the premises are likely to involve one or more of the following arrangements. State the strategy(or strategies) that have been adopted. |  |
| SINGLE STAGE EVACUATION It is reasonably expected that all relevant persons in the premises are able to (and will) evacuate immediately to a place of total safety. | YES / NO |
| PROGRESSIVE HORIZONTAL EVACUATION Relevant persons are dependant on staff to assist with their escape, such as in residential care for example. Provisions have been made to move such persons from an area affected by fire, through a fire resisting barrier to an adjoining fire protected area on the same level, where they can wait in a place of safety whilst the fire is dealt with or await further evacuation down a protected route to total safety. NOTE - Progressive Horizontal Evacuation is subject to the following Protected areas should be designed to provide: • Sufficient capacity to accommodate the number of occupants who will need to use them. For this purpose a protected area should be sufficient capacity to accommodate its normal occupants and the occupants of the largest adjoining protected area. • Progressive movement away from a fire via sequential adjoining protected areas. • Means for escape via stairway(s) should this become necessary. The number and size of the protected areas depends on a number of factors: • the time it will take to evacuate people from the area of a fire to an adjacent protected area; • the number of people to be evacuated; • the level of any mobility impairment; • the number of staff to assist in evacuation; • the fire protection arrangements; • layout of the premises; and • location and number of staircases; | YES / NO |

| DELAYED EVACUATION Relevant persons are dependant on staff to assist with their escape however it is not desirable or practical to evacuate persons (e.g., due to medical conditions or treatments). Such persons may remain within their rooms whilst the fire is dealt with and the danger has passed. NOTE - Delayed Evacuation is subject to the following Bedrooms to be enclosed in an enhanced level of fire-resisting construction (protected bedrooms). A protected bedroom should be of 60-minute fire-resisting construction and the door should be fire-resisting and fitted with a self-closing device. In addition, the escape route from the protected bedroom(s) to the adjoining protected areas, refuge or final exit (including any stairway) will also require an increased level of fire protection to allow access for staff to assist with subsequent evacuation from the protected bedroom(s). If necessary, the door may be fitted with electromechanical hold-open or free swing devices that operate immediately the fire alarm actuates. If provision of such fire resistance is not possible, you may be able to show through your risk assessment that alternative measures to limit the growth and spread of the fire are appropriate, such as an automatic fire suppression system supported by robust staff response procedures. Any resident who is initially left in a fire protected bedroom should be accompanied by a carer. As such, the total number of residents awaiting evacuation in protected bedrooms should be less than the number of staff on duty. It is imperative that if some less able residents are left in protected bedrooms to await evacuation, then other staff know which rooms have been evacuated and those which still contain residents and where necessary are able to notify the fire and rescue service when they arrive. Arrangements for delayed evacuation should only be based on a pre-planned basis. |  |  | YES / NO |
| --- | --- | --- | --- |
| Written copies of Evacuation Procedures are located as follows: |  |  |  |
| Identified Hazards | Existing Control Measures | Additional Control Measures Required |  |
| Deficiencies and Comments: |  |  |  |

PROVISION OF ELEMENTS OF FIRE SAFETY AS SECONDARY CONTROL MEASURES

| MEANS OF ESCAPE |  |  |  |
| --- | --- | --- | --- |
| It is considered that the premises are provided with reasonable means of escape in case of fire. |  |  | YES / NO |
| Adequate design of escape routes? |  |  | YES / NO |
| Reasonable distances of travel available when: |  |  |  |
| There is escape in a single direction. |  |  | YES / NO |
| There are alternative means of escape available |  |  | YES / NO |
| Suitable protection of escape routes? (Fire resisting construction) |  |  | YES / NO |
| Adequate provision of exits? |  |  | YES / NO |
| Exits easily and immediately open-able where necessary? |  |  | YES / NO |
| Escape routes unobstructed? |  |  | YES / NO |
| It is considered that the premises are provided with reasonable arrangements for means of escape for disabled people? |  |  | YES / NO |
| Identified Hazards | Existing Control Measures | Additional Control Measures Required |  |
| Deficiencies and Comments: |  |  |  |

| MEASURES TO LIMIT FIRE SPREAD AND DEVELOPMENT |  |  |  |
| --- | --- | --- | --- |
| It is considered that there is: |  |  |  |
| Compartmentation of a reasonable standard. (Fire resisting) |  |  | YES / NO |
| Reasonable limitation of linings that may promote fire spread. (Walls and ceilings) |  |  | YES / NO |
| As far as can be reasonable ascertained, fire dampers are provided in ducts or vents as necessary to protect critical means of escape routes against passage of fire, smoke and combustion products in the early stages of a fire? |  |  | N/A / YES / NO |
| Identified Hazards | Existing Control Measures | Additional Control Measures Required |  |
| Deficiencies and Comments: |  |  |  |

| EMERGENCY ESCAPE LIGHTING |  |  |  |
| --- | --- | --- | --- |
| It is considered that there is a reasonable standard of normal, artificial and/or emergency escape lighting which operates in case of mains power failure to always ensure safe use of escape routes? |  |  | YES / NO |
| Identified Hazards | Existing Control Measures | Additional Control Measures Required |  |
| Deficiencies and Comments: |  |  |  |

| FIRE SAFETY SIGNS AND NOTICES |  |  |  |
| --- | --- | --- | --- |
| Is it considered that there is a reasonable standard of fire safety signs and notices? This should include fire exit, fire-door and fire equipment signage. |  |  | YES / NO |
| Identified Hazards | Existing Control Measures | Additional Control Measures Required |  |
| Deficiencies and Comments: |  |  |  |

| MEANS OF GIVING WARNING IN CASE OF FIRE |  |  |  |
| --- | --- | --- | --- |
| Where appropriate, is a manually operated fire warning system provided? |  |  | YES / NO |
| If yes give details: (e.g., Break glass call points, fire bell, air horn, klaxon etc) |  |  |  |
| Is automatic fire detection provided where necessary? If yes, state standard and grade (e.g. BS 5839 Part 1Grade L1/L2 etc) .................................................................................................. |  |  | N/A / YES / NO |
| Provided throughout the Premises |  |  | YES / NO |
| Provided to part of Premises only |  |  | YES / NO |
| Is the extent of automatic fire detection generally appropriate for the occupancy and fire risk? |  |  | YES / NO |
| Is there remote transmission of alarm signals to a monitoring station or other? |  |  | YES / NO |
| Identified Hazards | Existing Control Measures | Additional Control Measures Required |  |
| Deficiencies and Comments: |  |  |  |

| MANUAL FIRE EXTINGUISHING APPLIANCES |  |  |  |
| --- | --- | --- | --- |
| Is there a reasonable provision of portable fire extinguishers? |  |  | YES / NO |
| Are all fire extinguishing appliances readily accessible and unobstructed? (i.e., mounted on walls or on appropriate bases) |  |  | YES / NO |
| Is suitable wall signage provided relevant to extinguisher? |  |  | YES / NO |
| Are fire hose reels provided? |  |  | YES / NO |
| Identified Hazards | Existing Control Measures | Additional Control Measures Required |  |
| Deficiencies and Comments: |  |  |  |

| RELEVANT AUTOMATIC FIRE EXTINGUISHING SYSTEMS |  |  |  |
| --- | --- | --- | --- |
| Is there an automatic fire extinguishing system provided? If yes, state type of fixed system and location: (i.e., Intergern gas suppression systems, sprinklers/misting systems, Ansul system etc) Type: |  |  | YES / NO |
| Identified Hazards | Existing Control Measures | Additional Control Measures Required |  |
| Deficiencies and Comments: |  |  |  |

| OTHER RELEVANT FIXED SYSTEMS AND EQUIPMENT |  |  |  |
| --- | --- | --- | --- |
| Are any fixed systems or equipment provided? If yes, state type of fixed system and location: (i.e., Dry/wet risers, firefighting lift, smoke ventilation, smoke curtains etc) Type: |  |  | YES / NO |
| Identified Hazards | Existing Control Measures | Additional Control Measures Required |  |
| Deficiencies and Comments: |  |  |  |

| FIREFIGHTER SWITCH – HIGH VOLTAGE LUMINOUS TUBE SIGNS ETC |  |  |  |
| --- | --- | --- | --- |
| Suitable provision of fire fighters switche(s) for high voltage luminous tube signs, etc (to include location)? |  |  | N/A / YES / NO |
| Identified Hazards | Existing Control Measures | Additional Control Measures Required |  |
| Deficiencies and Comments: |  |  |  |

MANAGEMENT OF FIRE SAFETY

| PROCEDURES AND ARRANGEMENTS |  |  |
| --- | --- | --- |
| Fire safety is managed by: |  |  |
| Deputy or assistant: |  |  |
| Are competent person(s) appointed to assist in undertaking the preventative and protective measures (i.e. relevant general fire precautions) where necessary? State name and responsible element of fire safety ............................................ ...................................................................... ............................................ ...................................................................... ............................................ ...................................................................... ............................................ ...................................................................... |  | YES / NO |
| Is there a suitable record of the fire safety arrangements? |  | YES / NO |
| Are appropriate fire procedures in place? |  | YES / NO |
| Are procedures in the event of a fire appropriate and properly documented? |  | YES / NO |
| Are there suitable arrangements for summoning the Fire and Rescue Service? |  | YES / NO |
| Are there suitable arrangements to meet the F&RS on arrival and provide relevant information, including that relating to hazards to fire fighters? |  | YES / NO |
| Is there a plan of the building available indicating basic layout and any areas of significant risk? |  | YES / NO |
| Are there suitable arrangements for ensuring that the premises have been evacuated? |  | YES / NO |
| Is there a suitable fire assembly point(s) identified? |  | YES / NO |
| Are there adequate procedures for evacuation of any disabled people who are likely to be present? |  | N/A / YES / NO |
| Are persons nominated and trained to assist with evacuation where necessary, Including evacuation of disabled people? |  | N/A / YES / NO |
| Appropriate liaison with Fire and Rescue Service Rescue Service crews visiting crew for familiarisation visits if required? |  | N/A / YES / NO |
| Are routine in-house inspections of fire precautions undertaken (e.g., in the course of health and safety inspections)? |  | YES / NO |
| Deficiencies and Comments: |  |  |

| TRAINING AND DRILLS |  |  |
| --- | --- | --- |
| Fire safety training is managed by: |  |  |
| Deputy or assistant: |  |  |
| Are staff given adequate fire safety instruction and training on induction? |  | N/A / YES / NO |
| Are staff given adequate periodic ‘refresher’ training at suitable intervals? If yes, at what intervals? |  | N/A / YES / NO |
| Are staff with special responsibilities (e.g., fire wardens and staff who assist with disabled people) given appropriate additional training? Give details: |  | N/A / YES / NO |
| Does training for staff provide information, instruction or training on the following: |  |  |
| Fire risks in the premises |  | YES / NO |
| The general fire precautions in the building |  | YES / NO |
| Action in the event of a fire |  | YES / NO |
| Action on hearing the fire alarm |  | YES / NO |
| Method of operation of manual alarm systems or call points |  | YES / NO |
| Location and use of fire extinguishers |  | YES / NO |
| Means for summoning the fire and rescue service |  | YES / NO |
| Identity of persons nominated to assist with evacuation |  | YES / NO |
| Identity of persons nominated to use fire extinguishing appliances |  | YES / NO |
| Are fire drills carried out at appropriate intervals and a record of such drills maintained? Give details: |  | YES / NO |
| Is there sufficient and adequate channels of communication of fire safety information between employer and employee (e.g. Health & Safety meetings, notice boards etc) Give details: |  | YES / NO |

| When the employees of another employer work in the premises, are they provided with adequate instructions and given appropriate information (e.g., on fire risks and fire safety measures)? Give details: | YES / NO |
| --- | --- |
| Is there adequate co-operation and co-ordination between different Responsible Persons in multi-occupied premises to ensure compliance with the Fire Safety Order? | N/A / YES / NO |
| Deficiencies and Comments: |  |

| TESTING AND MAINTENANCE |  |  |
| --- | --- | --- |
| Testing and Maintenance is managed by: |  |  |
| Deputy or assistant: |  |  |
| Is there adequate maintenance of the workplace? |  | YES / NO |
| Is there a system of weekly testing and periodic servicing of fire detection and alarm system to include, where provided, ancillary equipment (e.g., door hold open devices, door locks etc)? |  | YES / NO |
| Is there a system monthly and annual testing routines for emergency escape lighting where provided? |  | N/A / YES / NO |
| Is there a system of annual maintenance of fire extinguishing appliances? |  | YES / NO |
| Is there a system of periodic inspection of external escape staircases and gangways? |  | N/A / YES / NO |
| Is there a system six-monthly inspection and annual testing of rising mains? |  | N/A / YES / NO |
| Is there a system for weekly and monthly testing, six monthly inspection and annual testing of fire fighting lifts? |  | N/A / YES / NO |
| Is there a system for weekly testing and periodic inspection of sprinkler installations? |  | N/A / YES / NO |
| Is there a system for routine checks of final exit doors and/or security fastenings? |  | YES / NO |
| Is there a system for annual inspection and testing of lightning protection system? |  | N/A / YES / NO |
| Other relevant inspections or tests: Give details: |  |  |
| Deficiencies and Comments: |  |  |

| RECORDING |  |
| --- | --- |
| Are there appropriate records for: |  |
| Fire drills | YES / NO |
| Fire training | YES / NO |
| Fire alarm tests | N/A / YES / NO |
| Emergency escape lighting tests | N/A / YES / NO |
| Maintenance and testing of other fire precaution systems | N/A / YES / NO |
| Location of Records: (To be available for inspection by a Fire Officer if required) Give Details: |  |
| Deficiencies and Comments: |  |

| PRIORITY | MEANING |
| --- | --- |
| High | Immediate priority to be actioned within 24 hours to 8 weeks Breaches of legal requirements, which could cause injury and require immediate short-term action. Also includes matters that can be resolved at minimal cost |
| Medium | Medium priority to be actioned within 2-6 months Breaches in legislation that may require medium/long term action to resolve |
| Low | Low priority to be actioned within 6 months-1year Items of non urgent priority or for future consideration |

Deficiencies and recommendations identified earlier within this risk assessment should be copied into the following Remedy Action Plan and appropriate action taken.

| SIGNIFICANT FINDINGS – ACTION PLAN |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| No | Action to be Taken | Priority | Target Completion Date | Action by | Date Action Completed |
| 1 |  |  |  |  |  |
| 2 |  |  |  |  |  |
| 3 |  |  |  |  |  |
| 4 |  |  |  |  |  |
| 5 |  |  |  |  |  |
| 6 |  |  |  |  |  |
| 7 |  |  |  |  |  |
| 8 |  |  |  |  |  |